GUI Parameter Tuning Guide

What each visible control means, what happens when you increase or decrease it, and how to tune it safely

Best starting rule Run the default settings first on a representative image. Change one parameter at a time, compare the overlay/masks, and keep notes. Several parameters interact, so changing many values together makes it hard to know what helped.

# 1. What the user sees

| GUI area | Control | Plain-language purpose |
| --- | --- | --- |
| Input | Image file | Select a supported .tif/.tiff/.czi two-channel image. |
| Input | Output folder | Choose where results will be saved. If left empty, the script proposes a timestamped output folder. |
| Basic | ERODE_MULT | Changes how strongly the automatically generated Channel-2 mask is eroded. |
| Basic | blob_log threshold | Controls lysosome detection sensitivity. |
| Optional filter | Min / Max lysosome diameter | Restricts the subset shown/exported for the selected diameter interval. |
| Output | Launch Napari viewer | Open the interactive viewer after processing. |
| Output | Generate videos + FPS | Create videos and choose playback speed. |
| Advanced | MARGIN_UM, OVERLAP_ALPHA, VIZ_MIN_VOXELS, DIST_SMOOTH_SIGMA, H_MAXIMA | Controls cell association, display filtering, and watershed separation. |
| Adaptive membrane | Minimum bins, Maximum bins, Smoothing sigma, Relative height | Controls how the radial membrane intensity profile is sampled and interpreted. |

# 2. Basic controls

## ERODE_MULT — default 1.0

What it really does The script automatically estimates an erosion radius, then adds ERODE_MULT to it and rounds the result. So a larger value produces stronger erosion. The name says “MULT”, but the current implementation behaves as an additive adjustment.

Increase it when cell/mask regions look too thick, bleed into nearby space, or remain joined by narrow bridges.

Decrease it when thin structures disappear, cell regions become too small, or the mask is being eaten away.

Tune gently: try small steps such as 0.5 to 1.0 around the current value rather than large jumps.

## blob_log threshold — default 0.001

Simple meaning This is the main lysosome-detection sensitivity control. Lower threshold = easier to call something a lysosome. Higher threshold = harder.

| If you change it… | Expected effect | Use when… |
| --- | --- | --- |
| Decrease | More candidate lysosomes, including weaker spots; false positives may increase. | Real puncta are being missed. |
| Increase | Fewer candidates; detections are more selective. | Noise or faint background is being detected as lysosomes. |

Good tuning habit Judge this parameter on several slices and at least a few cells. A threshold that looks perfect in one bright region may fail in dimmer regions.

## Min / Max lysosome diameter (µm) — default blank

Blank means that side of the size filter is disabled.

Use a minimum diameter to remove objects that are biologically or optically too small for your analysis goal.

Use a maximum diameter to exclude very large objects, aggregates, or merged detections from the diameter-filtered viewing/editing subset.

Important The script still creates the main lysosome detections first. The diameter interval is then used for the filtered dataset that is visualized/edited and exported as the interval subset.

# 3. Advanced cell / watershed controls

## MARGIN_UM — default 1.2 µm

Simple meaning How far outside the original cell/neuron mask a lysosome may still be considered close enough for association logic.

| Change | Effect | Typical symptom |
| --- | --- | --- |
| Lower | Stricter boundary; fewer near-edge lysosomes are accepted. | Too many outside lysosomes are being associated with cells. |
| Higher | More forgiving boundary; more near-edge lysosomes can be associated. | True boundary lysosomes are being classified outside. |

## OVERLAP_ALPHA — default 0.6

Simple meaning Minimum fraction of a lysosome’s physical 3D sphere that must overlap the mask for the overlap test to count it as inside. Range: 0 to 1.

| Value direction | Effect |
| --- | --- |
| Toward 0 | More permissive: even modest sphere overlap can qualify. |
| Toward 1 | More strict: most of the lysosome sphere must overlap the mask. |

Lower it if clearly boundary-associated lysosomes are being rejected.

Raise it if objects just touching the cell edge are being incorrectly accepted.

## VIZ_MIN_VOXELS — default 10000

Simple meaning A visualization filter for small segmented cell labels. It helps hide tiny cell regions from selected display layers; it is not the main biological detection threshold.

Increase it to hide more small fragments in visualizations.

Decrease it if small real cells/regions disappear from the display.

## DIST_SMOOTH_SIGMA — default 4.0

Simple meaning How much the cell interior distance map is smoothed before watershed seed detection.

| Change | What you may see |
| --- | --- |
| Lower | More local peaks survive. Watershed can create more seeds and potentially split regions more aggressively. |
| Higher | Small peaks merge/smooth away. Watershed gets fewer, broader seeds and may split less. |

Lower carefully if touching cells are not separating.

Raise if a single cell is being fragmented into many watershed regions because of noisy internal peaks.

## H_MAXIMA — default 4.0

Simple meaning How strong a distance-map peak must be to become a watershed seed. Higher values suppress more weak peaks.

| Change | Expected result |
| --- | --- |
| Lower | More watershed seeds; more splitting. |
| Higher | Fewer watershed seeds; less splitting. |

Pairing tip DIST_SMOOTH_SIGMA and H_MAXIMA both affect watershed seeds. If you need more splitting, usually reduce smoothing and/or H_MAXIMA gradually. If you see over-segmentation, move them in the opposite direction.

# 4. Adaptive membrane controls

What this section does For each segmented cell, the script analyzes intensity as a function of distance, builds a radial profile, smooths it, finds the relevant peak and estimates membrane thickness from the peak width. The bin controls affect profile resolution; the smoothing and relative-height controls affect how the peak is interpreted.

## Minimum bins — default 8

Sets the minimum number of radial intervals in the membrane profile.

Increase for more minimum profile detail, especially when the automatic binning would otherwise be coarse.

Decrease for a simpler profile, but the script requires at least 3.

## Maximum bins — default 200

Caps how finely the adaptive radial profile can be divided.

Lower it if profiles become excessively detailed/noisy or if you want a stronger cap on profile resolution.

Raise it only when there is a real need for finer radial sampling and the images support that detail.

## Smoothing sigma — default 1.5

Simple meaning Gaussian smoothing applied to the radial membrane intensity profile before peak-width estimation.

| Change | Effect |
| --- | --- |
| Lower | Keeps fine fluctuations and narrow features; may make peak detection more sensitive to noise. |
| Higher | Produces a smoother, more stable profile; may blur narrow membrane features if too high. |

## Relative height — default 0.6

Simple meaning Controls the vertical level used by peak-width measurement. It changes the estimated width of the membrane-profile peak and therefore can change the membrane band thickness.

Treat this as a shape/width tuning control, not a sensitivity threshold like blob_log threshold.

Change it only after the cell segmentation itself looks reasonable.

Compare the resulting adaptive membrane mask directly against the raw Channel-2 signal when tuning it.

# 5. Output controls

| Control | Default | What to do |
| --- | --- | --- |
| Launch Napari viewer | On | Keep on during method development and quality control. Turn off for unattended batch-style runs. |
| Generate videos | On | Turn off if you only need tables and TIFF outputs or want to reduce output generation. |
| Video FPS | 8 | Changes playback speed only; it does not change segmentation or measurements. |

# 6. Symptom-based tuning cheat sheet

| Observed problem | First tuning action |
| --- | --- |
| Too many false lysosomes | Increase blob_log threshold first. If the false detections are mainly tiny, also consider a minimum diameter for the filtered dataset. |
| Real lysosomes are missing | Decrease blob_log threshold gradually. |
| Cells are split into too many pieces | Increase DIST_SMOOTH_SIGMA and/or H_MAXIMA gradually. |
| Touching cells are not separated | Decrease DIST_SMOOTH_SIGMA and/or H_MAXIMA gradually. |
| Cell mask is too thick / connected | Increase ERODE_MULT carefully. |
| Cell mask loses thin structures | Decrease ERODE_MULT. |
| Boundary lysosomes are marked outside | Increase MARGIN_UM slightly and/or decrease OVERLAP_ALPHA. |
| Outside lysosomes are being pulled into cells | Decrease MARGIN_UM and/or increase OVERLAP_ALPHA. |
| Tiny cell fragments clutter visualization | Increase VIZ_MIN_VOXELS. |
| Membrane profile is noisy | Increase membrane Smoothing sigma, or consider a lower Maximum bins cap. |
| Membrane band looks overly broad/narrow | Review Relative height and membrane profile smoothing, while checking the raw Channel-2 signal side by side. |

# 7. Recommended tuning workflow

Choose one representative image containing bright, dim, isolated and crowded examples if possible.

Run the defaults and save the result as a baseline.

First tune lysosome detection with blob_log threshold. Do not tune membrane parameters at the same time.

Then tune the Channel-2 mask and watershed separation with ERODE_MULT, DIST_SMOOTH_SIGMA and H_MAXIMA.

Then tune cell/outside association with MARGIN_UM and OVERLAP_ALPHA.

Only after the cell mask is credible, tune adaptive membrane profile parameters if the membrane band itself needs improvement.

Use the same tuned settings on several images before deciding they are robust.

Record the final values with the experiment so the analysis can be reproduced.

One-change rule When possible, change only one parameter between comparison runs. If two parameters must be tuned together (for example DIST_SMOOTH_SIGMA and H_MAXIMA), keep the changes small and write down both values.

# 8. Defaults and valid-input reminders

| Field | Validation |
| --- | --- |
| OVERLAP_ALPHA | 0 to 1 |
| Minimum bins | integer ≥ 3 |
| Maximum bins | integer ≥ Minimum bins |
| Membrane smoothing sigma | ≥ 0 |
| Membrane relative height | 0 to 1 |
| Min/Max diameter | blank or non-negative; minimum cannot exceed maximum |
| Video FPS | integer |

The GUI validates these values before processing and stops with an error message when an entry is invalid.