L3 Script Logic and Parameters

A simple, didactic explanation of what the analysis script does and why each parameter exists

Based on L3.py

Purpose This program analyzes a two-channel 3D microscopy image. In simple terms, it finds lysosome-like bright spots in Channel 1, segments cell/membrane regions from Channel 2, decides whether each lysosome is inside a cell or outside, measures signal and volume, and exports results for review.

# 1. The script in one picture

| Stage | What happens |
| --- | --- |
| 1. User setup | The GUI asks for the image, output folder, a few segmentation controls, optional size filters, and output choices. |
| 2. Load image + scale | TIFF/TIFF-OME or CZI is loaded. The script reads voxel size from metadata when possible and asks the user if essential scale information is missing. |
| 3. Detect lysosomes | Channel 1 is smoothed and a Laplacian-of-Gaussian blob detector finds bright, approximately round objects. |
| 4. Refine lysosome size | Detected radii are refined using a 3D Gaussian fit and then a radial intensity-profile method. Physical radius, diameter, volume, position and peak intensity are calculated. |
| 5. Segment cells/membrane | Channel 2 is normalized, smoothed and locally thresholded. Morphology cleans the mask, watershed separates touching cell regions, and an adaptive radial-profile method estimates the membrane. |
| 6. Classify lysosomes | Each lysosome is classified as cell or outside using its center, a soft margin around the mask, sphere overlap, and nearby cell labels. |
| 7. Quantify | The program measures Channel-1 signal and volume per cell and also separates membrane-associated and lysosome-associated regions. |
| 8. Export + review | CSV tables, TIFF/OME-TIFF masks and overlays, optional videos, and an optional Napari viewer are produced. |

# 2. Input assumptions

Supported input file types: .tif, .tiff, and .czi.

The image is expected to contain exactly two channels in a 3D stack.

Channel 1 is treated as the lysosome / puncta signal.

Channel 2 is treated as the cell / membrane signal.

Physical voxel dimensions are important because distances, radii and volumes are reported in micrometers.

Why voxel size matters A radius of 4 pixels does not have a biological size until the program knows how large each pixel/voxel is. The script therefore reads physical scale from metadata when available and uses that scale throughout the analysis.

# 3. Lysosome detection logic (Channel 1)

Smooth Channel 1 to reduce high-frequency noise.

Run blob_log to find bright, approximately spherical candidates across a range of sizes.

Refine each candidate radius with a local 3D Gaussian fit.

Refine the radius again from a radial intensity profile and a half-maximum width estimate.

Convert positions and radii from voxels to micrometers; calculate diameter and estimated spherical volume.

Save a lysosome table and later add cell/outside classification information.

Important implementation note The final physical lysosome radius is capped at 0.275 µm in the current code. This is an internal rule, not a GUI control.

# 4. Cell and membrane segmentation logic (Channel 2)

Normalize Channel 2 and apply Gaussian smoothing.

Create a preliminary foreground mask using slice-by-slice adaptive local thresholding.

Automatically estimate opening, closing and erosion radii, then clean the preliminary mask with 3D morphology.

Fill internal holes so the cell interiors can be separated reliably.

Create a distance transform and smooth it.

Find significant distance-map peaks with H-maxima. These peaks become watershed seeds.

Run watershed to separate connected foreground into individual cell regions.

For each cell, build a radial intensity profile and estimate an adaptive membrane band using automatic binning and peak-width analysis.

# 5. How lysosomes are assigned to cells

Classification idea The program does not rely on only one test. It first checks direct membership, then allows a soft physical margin around the mask, tests how much of the lysosome sphere overlaps the cell mask, and can use the nearest cell label when needed.

| Test | Meaning |
| --- | --- |
| Direct center test | If the lysosome center is already inside a segmented cell, the assignment is straightforward. |
| Soft margin | MARGIN_UM expands the acceptable neighborhood around the mask so near-boundary lysosomes are not automatically rejected. |
| Sphere overlap | The physical 3D sphere of the lysosome is compared with the mask. OVERLAP_ALPHA sets the required fraction. |
| Nearest label fallback | The script can search nearby voxels for a valid cell label using an internal maximum-neighbor distance. |

# 6. Parameter map

## User-facing parameters

| Parameter | Default | Role |
| --- | --- | --- |
| ERODE_MULT | 1.0 | Adjusts the final erosion radius after automatic morphology. Despite the name, the current implementation adds this value to the estimated erosion radius. |
| BLOB_THRESHOLD | 0.001 | Sensitivity threshold for LoG lysosome detection. Lower values detect more candidates. |
| DIAMETER_MIN_UM / MAX | blank | Optional physical-size filter for the lysosome subset used for visualization/editing and interval exports. |
| MARGIN_UM | 1.2 µm | Soft physical distance around the cell/neuron mask used during classification. |
| OVERLAP_ALPHA | 0.6 | Required sphere-overlap fraction; valid range 0 to 1. |
| VIZ_MIN_VOXELS | 10000 | Hides small cell labels from selected visualization layers; it is mainly a display filter. |
| DIST_SMOOTH_SIGMA | 4.0 | Smooths the watershed distance map before finding cell-separation seeds. |
| H_MAXIMA | 4.0 | Suppresses weak watershed seed peaks; controls how easily separate cells receive distinct seeds. |
| MEMBRANE_MINIMUM_BINS | 8 | Minimum radial-profile resolution used for adaptive membrane detection. |
| MEMBRANE_MAXIMUM_BINS | 200 | Maximum radial-profile resolution. |
| MEMBRANE_SIGMA_SMOOTH | 1.5 | Smooths the radial intensity profile before membrane width estimation. |
| MEMBRANE_REL_HEIGHT | 0.6 | Relative height used to measure the width of the membrane-profile peak. |
| VIDEO_FPS | 8 | Playback speed of exported videos. |
| LAUNCH_VIEWER | True | Opens Napari automatically after processing. |
| GENERATE_VIDEOS | True | Enables automatic video creation. |

## Internal / fixed parameters worth knowing

| Internal parameter | Default | Role |
| --- | --- | --- |
| DEFAULT_VX_VY_UM | 0.04 µm | Fallback XY scale when metadata is unavailable. |
| NEIGHBOR_MAX_VOX | 12 voxels | Maximum nearby-label search distance; not exposed in GUI. |
| CH1_SMOOTH_SIGMA | 1.0 | Channel-1 pre-smoothing. |
| BLOB_MIN_SIGMA / MAX_SIGMA | 0.8 / 2.5 | LoG size-search range. |
| BLOB_NUM_SIGMA | 12 | Number of LoG scale values tested. |
| RADIAL_MAX_RADIUS_NM / DR_NM | 250 / 5 nm | Range and sampling step for lysosome radial profiles. |
| CH2_SMOOTH_SIGMA | 1.5 | Channel-2 pre-smoothing. |
| THRESH_BLOCK_SIZE | 201 | Neighborhood size for adaptive local thresholding. |
| THRESH_OFFSET_STD_MULT | 0.12 | Controls the local-threshold offset. |

# 7. Main outputs

| Output family | What it is for |
| --- | --- |
| CSV tables | Lysosome positions/sizes/intensity, cell/outside assignments, diameter-filtered subsets, per-cell signal and volume summaries. |
| TIFF masks | Filled cell mask, adaptive membrane, distance map, watershed markers/cell labels, lysosome core/associated masks, residual membrane and outlines. |
| OME-TIFF / RGB overlays | Convenient multichannel and colored visualization products that combine raw data and segmentation results. |
| Videos | Optional slice-by-slice visualizations at the user-selected FPS. |
| Napari | Optional interactive viewer for 2D/3D inspection and editing of the diameter-filtered lysosome subset. |

# 8. Practical interpretation

Think of the pipeline as two detectors that meet in the middle Channel 1 answers “where are the lysosomes and how big are they?” Channel 2 answers “where are the cells and their membrane?” The classification step then combines both answers to decide which lysosome belongs to which cell and to quantify the signal spatially.

For tuning guidance, use the companion document “L3 GUI Parameter Tuning Guide”. It focuses on what a user should change when the result looks too permissive, too strict, over-segmented, under-segmented, noisy, or overly smoothed.